## Summary
WA/2024/211 AT22 pulls and suitability results
Project | WA/2024/211
LIMS | WST-24-006564
Client | Aldrevessa Therapeutics
Lead | Alice Penrose
Sequence owner | Leon Wu
Method validation | Saira Mahmood
Milestone | Date
Quote accepted | 01/07/2024
Start | 22/07/2024
Interim review (6 months) | 20/01/2025
Completion (12 months) | 22/07/2025
Stability result | Value
Initial assay (% label claim) | 99.7
Last timepoint (months) | 12
Overall outcome | Coated tablet complies at all conditions; uncoated comparator out of trend at 30 °C/75% RH
Reviewed by | Alice Penrose | Checked 22/07/2025

## Stability
ICH chamber programme: coated tablet pulls
Assay as % label claim, impurities as % area. Water by Karl Fischer, % w/w. Result per protocol acceptance criteria. Packs stored in the closed configuration.
Condition | Timepoint (months) | Assay (% LC) | Imp A RRT 0.86 (%) | Imp B RRT 1.12 (%) | Total impurities (%) | Water KF (% w/w) | Result
25 °C/60% RH | 0 | 99.7 | 0.06 | <0.05 | 0.17 | 0.9 | Complies
25 °C/60% RH | 1 | 100.1 | 0.05 | <0.05 | 0.14 | 2 | Complies
25 °C/60% RH | 3 | 99.7 | 0.08 | <0.05 | 0.22 | 0.9 | Complies
25 °C/60% RH | 6 | 99.8 | 0.11 | 0.05 | 0.22 | 2 | Complies
25 °C/60% RH | 9 | 99.1 | 0.12 | 0.06 | 0.31 | 2.2 | Complies
25 °C/60% RH | 12 | 99.7 | 0.15 | 0.08 | 0.32 | 1.7 | Complies
30 °C/65% RH | 0 | 99.7 | 0.06 | <0.05 | 0.17 | 0.9 | Complies
30 °C/65% RH | 1 | 100.5 | 0.05 | <0.05 | 0.22 | 0.8 | Complies
30 °C/65% RH | 3 | 99.5 | 0.09 | <0.05 | 0.24 | 2 | Complies
30 °C/65% RH | 6 | 99.4 | 0.14 | 0.08 | 0.31 | 1.9 | Complies
30 °C/65% RH | 9 | 98.8 | 0.16 | 0.11 | 0.35 | 1.9 | Complies
30 °C/65% RH | 12 | 98.9 | 0.23 | 0.15 | 0.44 | 1.4 | Complies
40 °C/75% RH | 0 | 99.7 | 0.06 | <0.05 | 0.17 | 0.9 | Complies
40 °C/75% RH | 1 | 99.4 | 0.11 | 0.05 | 0.22 | 0.8 | Complies
40 °C/75% RH | 3 | 99.4 | 0.19 | 0.13 | 0.42 | 1.5 | Complies
40 °C/75% RH | 6 | 97.8 | 0.33 | 0.21 | 0.67 | 1.9 | Complies
Specification: assay 95.0-105.0% LC; Imp A (RRT 0.86, specified) ≤0.50%; Imp B (RRT 1.12, specified) ≤0.30%; any unspecified impurity ≤0.20%; total impurities ≤2.0%

## Method validation
Assay and related-substances validation: summary
HPLC method development and validation run under the qualification protocol. Acceptance limits as stated in the validation plan.
Parameter | Result | Acceptance
Linearity (r²) | 0.9991 | ≥0.999
Range (% nominal) | 50-150 | 80-120 minimum
Accuracy 80% (% recovery) | 99.4 | 98.0-102.0
Accuracy 100% (% recovery) | 99.4 | 98.0-102.0
Accuracy 120% (% recovery) | 99.6 | 98.0-102.0
Repeatability (%RSD, n=6) | 0.41 | ≤2.0
Intermediate precision (%RSD) | 0.72 | ≤2.0
LOQ (% of nominal) | 0.05 | ≤0.05

## Comparator
Coated and uncoated tablets: formulation comparison
Both presentations held in parallel at the same chambers and pull points. Comparison is qualitative; see the stability sheet for values.
Attribute | Coated tablet | Uncoated comparator | Comment
Water uptake at 30 °C/75% RH | Low, stable across pulls | Increasing across pulls | Humidity-driven
Impurity growth | Within limits at all pulls | Out of trend from the 6-month pull | Reported to Aldrevessa at interim review
Appearance | No change | Surface softening noted at high humidity | Recorded on each pull
Decision | Coated tablet selected for development | Not progressed | Decision recorded by Aldrevessa on 22/07/2025

## Sign-off
Deviation and sign-off record
Item | Owner | Status | Date
Chamber humidity excursion at 30 °C/75% RH, memo filed, samples retained | Denis Miller | Closed | 03/10/2024
Coated tablet recommended for development | Alice Penrose | Approved | 22/07/2025
Interim review of 6-month pulls | Leon Wu | Complete | 20/01/2025
Final results and this workbook | Leon Wu | Issued Rev03 | 22/07/2025