## Summary
Westravelle Analytical Ltd
Wexanthel WX-4 tablets: eighteen-month stability and method qualification
Project | WA/2015/137
LIMS reference | WST-15-004255
Client | Wexanthel Medicines
Protocol lead | Dr A. Penrose
Prepared by | Dr L. Wu
Start / completion | 22 Jul 2015 | 23 Jan 2017
Turnaround | 551 days
1. Scope
Eighteen-month ICH stability of WX-4 tablets in the two packs under test, with the HPLC assay and related-substances method qualified before the first pull. Interim review completed 22 Apr 2016.
2. Result
Assay at time zero was 100.4 % label claim. The qualified method detected an impurity trend that depended on the pack. Wexanthel adopted the higher-barrier blister for WX-4 tablets. Conclusions are limited to the tested interval.
3. Sheets
Pulls | Stability results and total impurities chart
Method | Method validation summary
Solutions | Solution preparation and units as written in the batch card
Deviations | Deviation notes

## Pulls
Stability pulls: WX-4 tablets
Assay as % label claim (HPLC). Impurities as % area. Water by Karl Fischer. Pack A is the standard blister; pack B is the higher-barrier blister.
Condition | Timepoint (months) | Assay (% LC) | Imp A RRT 0.86 (%) | Imp B RRT 1.12 (%) | Total impurities (%) | Water KF (% w/w) | Result
25 °C/60% RH | 0 | 100.4 | 0.06 | <0.05 | 0.2 | 2.1 | Complies
25 °C/60% RH | 1 | 100.1 | 0.08 | <0.05 | 0.23 | 1 | Complies
25 °C/60% RH | 3 | 100.3 | 0.08 | <0.05 | 0.22 | 2.4 | Complies
25 °C/60% RH | 6 | 100.7 | 0.1 | 0.07 | 0.31 | 2 | Complies
25 °C/60% RH | 9 | 100.2 | 0.11 | 0.06 | 0.24 | 1.4 | Complies
25 °C/60% RH | 12 | 100.5 | 0.14 | 0.09 | 0.35 | 2.2 | Complies
25 °C/60% RH | 18 | 100.1 | 0.19 | 0.11 | 0.41 | 1.3 | Complies
30 °C/65% RH | 0 | 100.4 | 0.06 | <0.05 | 0.2 | 2.1 | Complies
30 °C/65% RH | 1 | 100.5 | 0.06 | <0.05 | 0.24 | 2.1 | Complies
30 °C/65% RH | 3 | 100.4 | 0.09 | 0.07 | 0.25 | 1.7 | Complies
30 °C/65% RH | 6 | 99.9 | 0.13 | 0.09 | 0.37 | 1.1 | Complies
30 °C/65% RH | 9 | 99.1 | 0.18 | 0.12 | 0.35 | 1 | Complies
30 °C/65% RH | 12 | 99.9 | 0.22 | 0.12 | 0.47 | 1.1 | Complies
30 °C/65% RH | 18 | 99 | 0.3 | 0.18 | 0.55 | 2.4 | Complies
40 °C/75% RH | 0 | 100.4 | 0.06 | <0.05 | 0.2 | 2.1 | Complies
40 °C/75% RH | 1 | 100.7 | 0.09 | 0.06 | 0.27 | 1.1 | Complies
40 °C/75% RH | 3 | 99.6 | 0.2 | 0.11 | 0.39 | 2.2 | Complies
40 °C/75% RH | 6 | 99 | 0.35 | 0.21 | 0.68 | 1.8 | Complies
Specification: assay 95.0-105.0% LC; Imp A (RRT 0.86, specified) ≤0.50%; Imp B (RRT 1.12, specified) ≤0.30%; any unspecified impurity ≤0.20%; total impurities ≤2.0%

## Method
Method validation summary: assay and related substances
Qualified against the HPLC method qualification protocol. Acceptance criteria as written in the protocol.
Parameter | Result | Acceptance
Linearity (r²) | 0.9997 | ≥0.999
Range (% nominal) | 50-150 | 80-120 minimum
Accuracy 80% (% recovery) | 99.7 | 98.0-102.0
Accuracy 100% (% recovery) | 99.8 | 98.0-102.0
Accuracy 120% (% recovery) | 99.7 | 98.0-102.0
Repeatability (%RSD, n=6) | 0.31 | ≤2.0
Intermediate precision (%RSD) | 1.17 | ≤2.0
LOQ (% of nominal) | 0.03 | ≤0.05

## Solutions
Solution preparation and units
Units are recorded as written on the batch card. Concentrations are for the working solutions used in the sequences.
Solution | Nominal concentration | Units as written | Storage
Standard stock | 1.0 mg/mL in diluent | mg/mL | Refrigerated, 7 days
Working standard | 0.10 mg/ml | mg/ml | Prepared fresh each day
Impurity spike, Imp A | 5 µM | µM | Refrigerated, protected from light
Impurity spike, Imp B | 50 nM | nM | Refrigerated, protected from light
Sample solution | 0.5 mg/mL | mg/mL | Prepared on the day of analysis
Low-level check | 200 ng/ml | ng/ml | Prepared fresh each day

## Deviations
Deviation notes
Ref | Raised | Summary | Status
DN-01 | 14 Apr 2016 | Eighteen-month pack B pull logged against the wrong chamber position. Position corrected in LIMS and the sample confirmed by the chamber log. | Closed 18 Apr 2016
DN-02 | 19 Dec 2016 | Impurity spike solution prepared at 5 µM instead of the 5 nM written on the sequence sheet. Spike remade and the affected run repeated. | Closed 21 Dec 2016
Note on C5: Units on the sequence sheet to be aligned with the batch card at the next revision.