## Summary
Westravelle Analytical Ltd, a Tarnovell company
Istravune IS-3 tablets: twenty-four-month ICH programme
Project | WA/2018/082
LIMS reference | WST-18-002559
Client | Istravune Biosciences
Protocol lead | Dr A. Penrose
Prepared by | Dr L. Wu
Start / completion | 30 Apr 2018 | 30 Apr 2020
1. Scope
Twenty-four-month ICH stability of IS-3 tablets, with the HPLC assay and related-substances method qualified before the first pull. Pulls to 24 months; interim review completed 30 Apr 2019.
2. Result
Assay at time zero was 99.4 % label claim. The long-term trend supports the proposed shelf life. The method remained suitable through the final pull. Conclusions are limited to the tested interval.
3. Sheets
Pulls | Stability results and assay chart
Method | Method validation summary
Review | Shelf-life review and sign-off

## Pulls
Stability pulls: IS-3 tablets
Assay as % label claim (HPLC). Impurities as % area. Water by Karl Fischer. Pulls from the ICH chamber programme as recorded on the batch card.
Condition | Timepoint (months) | Assay (% LC) | Imp A RRT 0.86 (%) | Imp B RRT 1.12 (%) | Total impurities (%) | Water KF (% w/w) | Result
25 °C/60% RH | 0 | 98.9 | 0.07 | <0.05 | 0.21 | 0.8 | Complies
25 °C/60% RH | 1 | 99 | 0.06 | <0.05 | 0.21 | 0.9 | Complies
25 °C/60% RH | 3 | 99.2 | 0.07 | 0.05 | 0.18 | 2 | Complies
25 °C/60% RH | 6 | 99.1 | 0.11 | 0.06 | 0.23 | 2.1 | Complies
25 °C/60% RH | 9 | 99.2 | 0.13 | 0.07 | 0.34 | 0.8 | Complies
25 °C/60% RH | 12 | 99.4 | 0.13 | 0.09 | 0.31 | 1.8 | Complies
25 °C/60% RH | 18 | 98.9 | 0.19 | 0.13 | 0.43 | 2.4 | Complies
25 °C/60% RH | 24 | 98.4 | 0.23 | 0.16 | 0.46 | 2 | Complies
30 °C/65% RH | 0 | 99.7 | 0.05 | <0.05 | 0.18 | 1.7 | Complies
30 °C/65% RH | 1 | 99.9 | 0.05 | <0.05 | 0.16 | 1.7 | Complies
30 °C/65% RH | 3 | 99.2 | 0.1 | 0.05 | 0.24 | 2.2 | Complies
30 °C/65% RH | 6 | 98.9 | 0.12 | 0.08 | 0.34 | 1.9 | Complies
30 °C/65% RH | 9 | 98.8 | 0.17 | 0.08 | 0.39 | 2.5 | Complies
30 °C/65% RH | 12 | 98.2 | 0.22 | 0.15 | 0.52 | 1.8 | Complies
30 °C/65% RH | 18 | 98.4 | 0.3 | 0.17 | 0.55 | 2.1 | Complies
30 °C/65% RH | 24 | 98.3 | 0.38 | 0.23 | 0.68 | 2.2 | Complies
40 °C/75% RH | 0 | 99.5 | 0.06 | <0.05 | 0.21 | 1.9 | Complies
40 °C/75% RH | 1 | 99.5 | 0.1 | <0.05 | 0.29 | 1.1 | Complies
40 °C/75% RH | 3 | 98.8 | 0.2 | 0.13 | 0.41 | 1.7 | Complies
40 °C/75% RH | 6 | 98 | 0.34 | 0.22 | 0.7 | 1.4 | Complies
Specification: assay 95.0-105.0% LC; Imp A (RRT 0.86, specified) ≤0.50%; Imp B (RRT 1.12, specified) ≤0.30%; any unspecified impurity ≤0.20%; total impurities ≤2.0%

## Method
Method validation summary: assay and related substances
Validated before the first stability pull under the assay and related-substances validation protocol. Acceptance criteria as written in the protocol.
Parameter | Result | Acceptance
Linearity (r²) | 0.9997 | ≥0.999
Range (% nominal) | 50-150 | 80-120 minimum
Accuracy 80% (% recovery) | 99.3 | 98.0-102.0
Accuracy 100% (% recovery) | 99.9 | 98.0-102.0
Accuracy 120% (% recovery) | 99.9 | 98.0-102.0
Repeatability (%RSD, n=6) | 0.21 | ≤2.0
Intermediate precision (%RSD) | 1.15 | ≤2.0
LOQ (% of nominal) | 0.03 | ≤0.05

## Review
Shelf-life review
Long-term data at 25 °C/60% RH support the proposed shelf life to the final pull. Accelerated data follow the same trend and do not change the conclusion.
The final pull was assayed against the same system suitability criteria as the first pull. The method was not changed over the programme.
Step | By | Date
Data review | Dr L. Wu | 30 Apr 2020
Method review | S. Mahmood | 30 Apr 2020
Approval | Dr A. Penrose | 30 Apr 2020
Note on A6: Istravune QA to be sent the signed copy with the shelf-life justification.