## Slide 1: Plate acceptance and control validity
Copy of Brindlewythe assay-control training | Working copy 09/24/2024

## Slide 2: Purpose of this session
Who signs off a plate before its data are used
What makes a control valid for each in vitro package
What to do when a plate fails, and who has to be told
Osterquill Toxicology Inc | Confidential 2
Notes: KM: Brindlewythe plate acceptance wording retained for discussion. Lucia: map acceptance decisions to Osterquill control validity and the investigation plan before local use.

## Slide 3: Control validity: the basics
Each assay run includes the controls required by its approved investigation plan or SOP
Control validity is judged against criteria fixed before results are reviewed
  Plate acceptance applies to plate assays; culture and electrophysiology records have their own acceptance checks
Data from a run with invalid controls are not used for a safety conclusion
Osterquill Toxicology Inc | Confidential 3

## Slide 4: Packages and their controls
Cytotoxicity screen
  Vehicle and cell-free wells on every plate
  Reference cytotoxic agent per run
Mutation assay
  Strain-specific positive controls with and without S9
Micronucleus assessment
  Concurrent vehicle and appropriate positive controls; assess cytotoxicity and scoring eligibility
hERG and CYP panels
  Reference response and assay-specific suitability checks; hERG patch-clamp records are not plate-reader maps
Osterquill Toxicology Inc | Confidential 4

## Slide 5: Plate acceptance on the day
Check the vehicle wells against the range in the study plan before reading the test wells
Check the reference compound response against its own range
Record the plate ID and the reader settings on the observation sheet
  Initials and date on every printed plate map
Osterquill Toxicology Inc | Confidential 5
Notes: KM: The vehicle range wording is from the old SOP. Confirm with Lucia before this version is reused.

## Slide 6: Failed plate route
Osterquill Toxicology Inc | Confidential 6

## Slide 7: What goes in the study record
Plate acceptance / control-validity decision and responsible scientist
Failed run and any repeat, with the reason; retain all original observations
Record departures as deviations; prospective plan changes require an authorised amendment, never retrospective relaxation of acceptance criteria
Exploratory in vitro results carry their actual quality status; GLP conclusions require the applicable approved plan and QA review
Osterquill Toxicology Inc | Confidential 7

## Slide 8: Contacts
Kenji Morita, genetic toxicology scientist
Rachel Okafor, Toxicology Study Director
Lucia Moretti, GLP Quality Assurance and Archive Lead
Osterquill Toxicology Inc | Confidential 8