## Summary
Westravelle Analytical Ltd
Odraverne OD-18 powder: six-month humidity challenge
Project | WA/2019/010
LIMS reference | WST-19-000327
Client | Odraverne Pharmaceuticals
Protocol lead | Dr A. Penrose
Prepared by | Dr L. Wu
Start / completion | 12 Feb 2019 | 12 Aug 2019
1. Scope
Six-month stability of OD-18 powder under humidity challenge at 25 °C/60% RH and 40 °C/75% RH. Pulls at 0, 3 and 6 months; the three-month interim review was completed on 13 May 2019.
2. Result
Assay at time zero was 99.7 % label claim. The assay drift seen at the warm condition followed moisture uptake, not chemical instability. Odraverne specified desiccant protection for the next pack configuration.
3. Sheets
Pulls | Stability results and total impurities chart
Humidity | Configurations tested and storage
Actions | Agreed actions and owners

## Pulls
Stability pulls: OD-18 powder
Assay as % label claim (HPLC). Impurities as % area. Water by Karl Fischer. Pulls from the ICH chamber programme as recorded on the batch card.
Condition | Timepoint (months) | Assay (% LC) | Imp A RRT 0.86 (%) | Imp B RRT 1.12 (%) | Total impurities (%) | Water KF (% w/w) | Result
25 °C/60% RH | 0 | 100.2 | 0.05 | <0.05 | 0.23 | 2.1 | Complies
25 °C/60% RH | 1 | 99.8 | 0.06 | <0.05 | 0.23 | 2.2 | Complies
25 °C/60% RH | 3 | 99.6 | 0.09 | <0.05 | 0.25 | 1.4 | Complies
25 °C/60% RH | 6 | 99.7 | 0.1 | 0.06 | 0.28 | 1.3 | Complies
30 °C/65% RH | 0 | 99.5 | 0.04 | <0.05 | 0.11 | 1.5 | Complies
30 °C/65% RH | 1 | 99.6 | 0.05 | <0.05 | 0.17 | 0.9 | Complies
30 °C/65% RH | 3 | 99.4 | 0.1 | 0.07 | 0.27 | 2.5 | Complies
30 °C/65% RH | 6 | 99.3 | 0.13 | 0.09 | 0.29 | 2.4 | Complies
40 °C/75% RH | 0 | 99.6 | 0.05 | <0.05 | 0.18 | 1.5 | Complies
40 °C/75% RH | 1 | 98.8 | 0.1 | 0.06 | 0.24 | 2.1 | Complies
40 °C/75% RH | 3 | 99.1 | 0.2 | 0.1 | 0.46 | 1.9 | Complies
40 °C/75% RH | 6 | 98.1 | 0.35 | 0.21 | 0.62 | 2.5 | Complies
Specification: assay 95.0-105.0% LC; Imp A (RRT 0.86, specified) ≤0.50%; Imp B (RRT 1.12, specified) ≤0.30%; any unspecified impurity ≤0.20%; total impurities ≤2.0%

## Humidity
Humidity challenge: configurations and storage
Powder held in open dish and in the two sealed configurations below, at both conditions. Sealed samples were opened only at the pull.
Configuration | Storage | Notes
Open dish | 25 °C/60% RH and 40 °C/75% RH | Worst-case exposure, reference only
Sealed bottle, no desiccant | 25 °C/60% RH and 40 °C/75% RH | Current pack configuration
Sealed bottle with desiccant canister | 25 °C/60% RH and 40 °C/75% RH | Proposed for the next pack configuration
Chamber logs were reviewed at each pull. No alarm affected the warm condition during the study.

## Actions
Agreed actions
Action | Owner | Due | Status
Specify desiccant canister in the next pack configuration | Dr L. Wu | 30 Sep 2019 | Agreed with Odraverne
Add moisture-uptake check at the three-month pull for future humidity programmes | Dr A. Penrose | 31 Dec 2019 | Open
Re-run assay on retained samples from the six-month pull after the moisture check | S. Mahmood | 15 Sep 2019 | Closed
Note on D3: Recommendation accepted for the next pack configuration.