## Summary
Westravelle Analytical Ltd, a Tarnovell company
WA/2023/136 CU19 column-equivalence results
Project | WA/2023/136
LIMS | WST-23-004243
Client | Culdrevane Pharma
Lead | Alice Penrose
Method owner | Saira Mahmood
Sequence owner | Leon Wu
Milestone | Date
Quote | 28/04/2023
Start of column runs | 18/05/2023
Interim data review | 14/06/2023
Completion | 12/07/2023
Result | Value
Routine method | Qualified backup for routine release; implementation details remain in the controlled method.
Overall outcome | Alternate column reproduced the required separation.
Reviewed by | Saira Mahmood | Checked 12/07/2023

## Column runs
Column-equivalence sequence records
Item | Source record
Original and alternate column identities | Refer to the batch card.
Separation evidence | Refer to the column-equivalence chromatograms and sequence sheets.
System suitability | Refer to the sequence-specific acceptance checks.
Disposition | Alternate column qualified as a backup for routine release.

## Method validation
HPLC method qualification: summary
Qualification parameters are summarised below; column-specific sequence details remain in the transfer records. Acceptance limits as stated in the transfer protocol.
Parameter | Result | Acceptance
Linearity (r²) | 0.9995 | ≥0.999
Range (% nominal) | 50-150 | 80-120 minimum
Accuracy 80% (% recovery) | 100.2 | 98.0-102.0
Accuracy 100% (% recovery) | 100.2 | 98.0-102.0
Accuracy 120% (% recovery) | 101.4 | 98.0-102.0
Repeatability (%RSD, n=6) | 0.28 | ≤2.0
Intermediate precision (%RSD) | 1.13 | ≤2.0
LOQ (% of nominal) | 0.03 | ≤0.05

## Sign-off
Transfer disposition and review record
Item | Record
Column-equivalence conclusion | Alternate column reproduced the required separation.
Routine release backup | Qualified; refer to the controlled transfer report and method.
Interim review | 14/06/2023
Completion | 12/07/2023
Deviations and repeats | Refer to the original sequence sheets; no additional runs are tabulated here.