## Summary
WA/2026/275 XE2 assay validation: INTERIM DRAFT
Status: interim. Forced degradation complete; integration rules and validation sign-off pending.
Project | WA/2026/275
LIMS | WST-26-008543
Client | Xelvessune Pharma
Lead | Alice Penrose
Method validation | Saira Mahmood
Sequence owner | Leon Wu
Milestone | Date
Quote accepted | 11/08/2026
Protocol start | 08/09/2026
Interim data review | 29/09/2026
Completion | To be confirmed
Result (interim) | Value
Overall outcome so far | Specificity established for the stressed samples at the peaks already integrated; shoulder peak under review
Prepared by | Saira Mahmood | Interim draft 29/09/2026

## Forced degradation
Forced degradation: specificity sequence (interim)
Stress conditions as per protocol. Peak purity assessed on the main peak in every stressed sample. Blank cells are results not yet reviewed.
Stress condition | Protocol setting | Exposure | Main peak purity | Shoulder peak | Integration reviewed | Comment
Acid | 0.1 M HCl, 60 °C | Complete | Pass | Present | No | Integration rule being set
Base | 0.1 M NaOH, 60 °C | Complete | Pass | Not seen | Yes | No action
Peroxide | 3% H2O2, room temperature | Complete | Pass | Present | No | Same shoulder as acid sample
Heat (solid) | 80 °C, 7 days | Complete | Pass
Light | ICH Q1B exposure | Complete | Pass
Hydrolysis control | Water, 60 °C
Note on E5: Shoulder is the same width in the acid and peroxide samples. Do not integrate it into the main peak until the rule is agreed.
Note on A9: Hydrolysis control row is empty. Leon to confirm whether the control was run in this sequence or the next.

## Method validation
HPLC method qualification: interim parameters
Parameters run to date. Specificity and robustness not yet signed off; see forced degradation sheet.
Parameter | Result | Acceptance
Linearity (r²) | 0.9995 | ≥0.999
Range (% nominal) | 50-150 | 80-120 minimum
Accuracy 80% (% recovery) | 99.8 | 98.0-102.0
Accuracy 100% (% recovery) | 100.4 | 98.0-102.0
Accuracy 120% (% recovery) | 99.9 | 98.0-102.0
INTERIM: 5 of 8 planned rows reported; remaining in progress