Brindlewythe Biosciences Ltd, a Tarnovell company

# Proposal and Quotation

AP02 second-generation safety panel with CYP3A4 concentration response

Proposal reference: BW21_0453

Prepared for: Avernelwick Pharmaceuticals Ltd

Date: 18 October 2021

# 1 Introduction

Brindlewythe Biosciences is pleased to quote for the following screening work. This document responds to the request from Avernelwick Pharmaceuticals Ltd for work on 42 compounds from the Avernelwick aminopyrimidine regioisomer screening set.

Reference: BW21_0453. Prepared by Dr L. Benmezroun, Study Director.

# 2 Scope of work

42 compounds, supplied by Avernelwick Pharmaceuticals Ltd as 10 mM DMSO solutions (minimum 40 µL each) in a single test lot.

hERG automated patch clamp: 6-point concentration response (top 30 µM), n≥2 cells per compound, E-4031 control

5-isoform CYP panel: CYP1A2, 2C9, 2C19, 2D6 and 3A4 at 10 µM in duplicate, probe substrates by LC-MS/MS

3A4 concentration response: 7-point IC50 for compounds above 50% CYP3A4 inhibition (included for up to 10 compounds)

# 3 Study design

Methods follow our standard procedures, summarised below. Any deviation is agreed with the client before testing.

## hERG automated patch clamp

HEK293 cells stably expressing hERG (Kv11.1) were recorded in whole-cell configuration on a 16-channel automated patch clamp platform at room temperature. Cells were held at -80 mV, depolarised to +40 mV for 2 s and repolarised to -50 mV for 2 s to elicit the tail current, at 0.1 Hz. Each compound was applied cumulatively at 0.12, 0.37, 1.1, 3.3, 10 and 30 µM (0.3% DMSO final), with 3-5 minutes per concentration.

Plate acceptance: seal resistance ≥500 MΩ before break-in and ≥200 MΩ throughout

Tail current amplitude ≥200 pA at baseline; run-down ≤10% over the vehicle period

Positive control E-4031 on every run; IC50 must fall within 5-50 nM

IC50 from a four-parameter logistic fit of mean tail-current inhibition; n≥2 cells per compound

## 5-isoform CYP panel

Pooled human liver microsomes (0.1 mg/mL protein) were incubated with each compound at 10 µM and an isoform-selective probe substrate at approximately Km, in duplicate, for 10 minutes at 37 °C after NADPH addition. Metabolite formation was measured by LC-MS/MS against vehicle (0.1% DMSO) incubations.

Probe substrates and controls

| Isoform | Probe substrate | Metabolite | Positive control |
| --- | --- | --- | --- |
| CYP1A2 | Phenacetin | Acetaminophen | Furafylline |
| CYP2C9 | Diclofenac | 4'-Hydroxydiclofenac | Sulfaphenazole |
| CYP2C19 | S-Mephenytoin | 4'-Hydroxymephenytoin | Ticlopidine |
| CYP2D6 | Dextromethorphan | Dextrorphan | Quinidine |
| CYP3A4 | Midazolam | 1'-Hydroxymidazolam | Ketoconazole |

Results are reported as mean percent inhibition relative to vehicle. Values above 50% at 10 µM are flagged for follow-up; small negative values indicate no inhibition.

## 3A4 concentration response

Compounds were run in a 7-point concentration response (top concentration 50 µM, 3-fold dilutions) against CYP3A4 with midazolam or testosterone as probe; ketoconazole was the positive control.

# 4 Deliverables

Results workbook (run sheets with compound-level data and a study summary sheet)

Final report (PDF) with methods, control results and interpretation

Raw traces and instrument files on request

# 5 Timeline

Results within 15 working days of receipt of test lots. Work starts once compounds and a purchase order are received; we will confirm the start date on receipt.

# 6 Price

Fixed price, GBP

| Item | Compounds | Unit price | Amount |
| --- | --- | --- | --- |
| hERG automated patch clamp | 42 | £220 | £9,240 |
| 5-isoform CYP panel | 42 | £120 | £5,040 |
| 3A4 concentration response | 42 | £38.57 | £1,620 |
| Total (excluding VAT) |  |  | £15,900 |

Total price: £15,900 for 42 compounds. Prices exclude VAT.

# 7 Terms

Quotation valid for 90 days from the date above

Invoiced in full on issue of the final report; payment within 30 days

Unused compound returned or destroyed at the client's instruction

Data and samples retained for 5 years

| Name | Role | Signature | Date |
| --- | --- | --- | --- |
| Leila Benmezroun | Study Director | Benmezroun | 18 October 2021 |