## Summary
Brindlewythe Biosciences Ltd, a Tarnovell company
BW20_0137 run sheets: RI13 HLM stability and free fraction
Project | BW20_0137 | LIMS | B-ACC-2020-02338
Client | Rennelwick Institute Drug Discovery Unit
Series | SER13, phenoxyethyl amide, RI13 prefix
Compounds | 18 | Assays | Liver microsomal stability; plasma protein binding (RED)
Stage | Date | Sheet | Checked by
Microsome run | 29/04/2020 | Human and rat CLint, t½ | I. Alvarado
RED run, first | 29/04/2020 | Recovery below target on the first plate | I. Alvarado
RED run, repeat | 15/05/2020 | Revised labware, recovery checked | I. Alvarado
Reviewed by | Dr R. Deshmukh |  | 22/05/2020
Outcome | Rennelwick prioritised the less bound amides for permeability work after the initial stability ranking proved consistent.
Note on B6: Client name as it stood on the 2020 quote. Rennelwick has not been renamed on this project.

## Plate acceptance
Assay | Run | Control | Reference | Recovery check | Accepted | Note
Microsomes | MS-01 | Verapamil | Within range | n/a | Yes | Human and rat in parallel
Microsomes | MS-02 | Verapamil | Within range | n/a | Yes | Repeat of three compounds with flat t½
RED | RED-01 | Propranolol | Within range | Below target | No | Recovery low on both sides of the dialysis cell
RED | RED-02 | Propranolol | Within range | Within target | Yes | Labware changed to the low-binding plate
Acceptance follows the study plan. RED-01 is kept on the file and excluded from the reported values; the repeat run replaces it in full.
Plate acceptance: microsome runs accepted; RED-02 accepted as the reportable plate.
Note on G4: Recovery on RED-01 was the reason for the repeat. The first read is kept so the rerun is traceable.

## Microsomal CLint
Liver microsomal stability, 0.5 mg/mL protein, 1 µM
Human and rat CLint in µL/min/mg. Half-lives over 60 minutes are reported as greater than 60.
Compound | Human CLint (µL/min/mg) | Human t½ (min) | Rat CLint (µL/min/mg) | Rat t½ (min)
RI13-02910 | 3.9 | >60 | 3.8 | >60
RI13-02924 | 5 | >60 | 8.7 | >60
RI13-02934 | 26 | 54 | 38 | 36
RI13-02936 | 6.7 | >60 | 8.6 | >60
RI13-02946 | 11 | >60 | 9.1 | >60
RI13-02954 | 16 | >60 | 21 | >60
RI13-02970 | 20 | >60 | 35 | 40
RI13-03002 | 37 | 38 | 59 | 24
RI13-03012 | 11 | >60 | 15 | >60
RI13-03014 | 15 | >60 | 42 | 33
RI13-03024 | 57 | 24 | 94 | 15
RI13-03038 | 19 | >60 | 28 | 50
RI13-03054 | 35 | 40 | 38 | 37
RI13-03056 | 22 | >60 | 48 | 29
RI13-03066 | 19 | >60 | 17 | >60
RI13-03072 | 37 | 38 | 42 | 33
RI13-03080 | 6.1 | >60 | 14 | >60
RI13-03090 | 52 | 27 | 100 | 14
Controls: verapamil (high), diltiazem (medium) within historical range

## Human PPB
Human plasma protein binding, RED, 4 h, 37 °C
Reportable plate RED-02 only. Unbound fraction is 100 minus % bound. Recovery is shown beside each record and was not corrected.
Compound | % bound | Unbound (%) | Recovery (%)
RI13-02910 | 83.8 | 16.22 | 81
RI13-02924 | 98.8 | 1.22 | 80
RI13-02934 | 93.1 | 6.87 | 98
RI13-02936 | 90.4 | 9.61 | 101
RI13-02946 | 88.4 | 11.6 | 91
RI13-02954 | 98 | 1.96 | 101
RI13-02970 | 93.7 | 6.35 | 101
RI13-03002 | 97.9 | 2.06 | 88
RI13-03012 | 99.9 | 0.1 | 93
RI13-03014 | 99.9 | 0.1 | 97
RI13-03024 | 95.1 | 4.93 | 96
RI13-03038 | 95 | 4.96 | 90
RI13-03054 | 93.3 | 6.66 | 90
RI13-03056 | 99.9 | 0.1 | 98
RI13-03066 | 96.2 | 3.79 | 99
RI13-03072 | 90.1 | 9.92 | 102
RI13-03080 | 91.5 | 8.46 | 95
RI13-03090 | 99.9 | 0.1 | 90
Warfarin control 98-99% bound
Note on C4: Recovery column is the check that the repeat worked. Anything under 80 would have been a rerun.