## Summary
Westravelle Analytical Ltd, a Tarnovell company
Protocol | WA/2026/047 |  | Interim report, first chamber pull
LIMS | WST-26-001463
Client | Jorvessara Pharmaceuticals
Title | Jorvessara JO-14 granules: stability start and chromatographic validation
Status | Interim: results to date, conclusions pending
Lead | Alice Penrose |  | Team: Leon Wu, Saira Mahmood
Pull schedule | Timepoint (months) | Status | Sign-off
ICH 25 °C/60% RH, 30 °C/65% RH, 40 °C/75% RH | 0 | Results entered; review pending
ICH 25 °C/60% RH, 30 °C/65% RH, 40 °C/75% RH | 1 | Results entered; review pending
ICH 25 °C/60% RH, 30 °C/65% RH, 40 °C/75% RH | 3 | Results entered; review pending
ICH 25 °C/60% RH, 30 °C/65% RH, 40 °C/75% RH | 6 | Results entered; review pending
ICH 25 °C/60% RH, 30 °C/65% RH, 40 °C/75% RH | 9 | Scheduled
ICH 25 °C/60% RH, 30 °C/65% RH, 40 °C/75% RH | 12 | Not yet scheduled
Interim reviewed by |  |  | Date
Note on C13: First chamber-pull review remains open. Reconcile the timepoint entries with the chamber log and review chromatograms before completing sign-off. Later pulls remain pending.

## Stability_Pulls
Stability results, WA/2026/047
Assay (% LC) and impurities (% area) against the ICH chamber programme. Water by KF (% w/w). Interim data to 6 months.
Condition | Timepoint (months) | Assay (% LC) | Imp A RRT 0.86 (%) | Imp B RRT 1.12 (%) | Total impurities (%) | Water KF (% w/w) | Result
25 °C/60% RH | 0 | 99.9 | 0.04 | <0.05 | 0.16 | 1.3 | Complies
25 °C/60% RH | 1 | 100 | 0.06 | <0.05 | 0.14 | 1.3 | Complies
25 °C/60% RH | 3 | 99.7 | 0.08 | <0.05 | 0.21 | 0.8 | Complies
25 °C/60% RH | 6 | 99.3 | 0.09 | 0.07 | 0.29 | 1.4 | Complies
30 °C/65% RH | 0 | 99.9 | 0.04 | <0.05 | 0.16 | 1.3 | Complies
30 °C/65% RH | 1 | 100.1 | 0.07 | 0.06 | 0.19 | 1 | Complies
30 °C/65% RH | 3 | 99.3 | 0.12 | 0.07 | 0.31 | 1.9 | Complies
30 °C/65% RH | 6 | 99.6 | 0.14 | 0.09 | 0.3 | 1.6 | Complies
40 °C/75% RH | 0 | 99.9 | 0.04 | <0.05 | 0.16 | 1.3 | Complies
40 °C/75% RH | 1 | 100.1 | 0.11 | 0.07 | 0.32 | 1.6 | Complies
40 °C/75% RH | 3 | 98.7 | 0.22 | 0.12 | 0.47 | 1.2 | Complies
40 °C/75% RH | 6 | 98.3 | 0.36 | 0.21 | 0.69 | 1.9 | Complies
Specification: assay 95.0-105.0% LC; Imp A (RRT 0.86, specified) ≤0.50%; Imp B (RRT 1.12, specified) ≤0.30%; any unspecified impurity ≤0.20%; total impurities ≤2.0%
Note on F15: Total impurities at 40 °C, 3 months is above the 25 and 30 °C results at the same pull. Check the integration on the RRT 0.86 peak before we quote it externally.

## Method_Val
HPLC method qualification: summary
Qualification complete. Acceptance criteria as set in the validation protocol.
Parameter | Result | Acceptance
Linearity (r²) | 0.9995 | ≥0.999
Range (% nominal) | 50-150 | 80-120 minimum
Accuracy 80% (% recovery) | 100.1 | 98.0-102.0
INTERIM: 3 of 8 planned rows reported; remaining in progress
Note on B5: Linearity meets the acceptance criterion shown. Qualification is complete; attach the signed qualification record to the final package.